## Sewer Project Data
EX Pipe/LF | [7 empty] | Prop Pipe/LF | [5 empty] | 4' Manhole |  |  |  | 5' Manhole |  |  |  | 6' Manhole |  |  |  | Services |  |  | Bypass Pumping |  | Rock |  | Asphalt |  | Existing Pipe |  | Proposed Pipe
Segment | Length | EX Diameter | depth | Construction Method | cost/LF | Bursting Multiplier | Extended Cost | Prop Diameter | depth | Construction Method | cost/LF | Bursting Multiplier | Extended Cost | quantity | depth | cost (each) | Extended Cost | quantity | depth | cost (each) | Extended Cost | quantity | depth | cost (each) | Extended Cost | quantity | cost | Extended Cost | required? | Cost | Quantity | Cost | Asphalt |  | Total | Per LF | Total | Per LF
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 12" | 0-16 | Open Cut | 195 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 12" | 0-16 | Open Cut | 195 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 12" | 0-16 | Open Cut | 195 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 12" | 0-16 | Open Cut | 195 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 12" | 0-16 | Open Cut | 195 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
| 0 | 8" | 0-16 | Open Cut | 183 | 1 | 0 | 16" | 0-16 | Open Cut | 203 | 1 | 0 | 0 | 0-16 | 4948 | 0 | 0 | 0-16 | 10797 | 0 | 0 | 0-16 | 17127 | 0 | 0 | 0 | 0 | Yes | 13104 | 0 | 0 | No | FALSE | 13104 |  | 13104
13104

## Sewer Cost Data (hidden)
Pipe (lf) | [6 empty] | Manholes (each) |  |  |  | Bypass Pumping | [7 empty] | Rock |  | Asphalt
Services
Diameter |  | depth |  | Depth (ft) |  | Bore and Jack | Diameter | Depth (ft) |  |  | Per 150 lf | [7 empty] | <10 CY (LS) | Additional (CY) | Per lf of sewer main
| adder | 0-16 | 16+ | 0-16 | 16+ |  |  | 0-16 | 16+ | (each) | 8" | 10" | 12" | 16" | 18" | 20" | 24" | 30"
8" | 60.9157 | 53.5249 | 92.2192 | 183 | 242 | 601 | 4' | 4948 | 11566 | 2435 | 13104 | 15650.5 | 18197 | 24075 | 24075 | 24075 | 24075 | 24075 | 1963 | 90 | 62
10" |  |  |  | 189 | 249 | 717 | 5' | 10797 | 15177
12" | 60.9157 | 61.812 | 100.5063 | 195 | 256 | 833 | 6' | 17127 | 29565
16" | 60.9157 | 66.963 | 107.6971 | 203 | 268 | 1361
18" | 60.9157 | 75.6585 | 116.3926 | 217 | 281 | 1889
20" |  |  |  | 232 | 297.3333 | 2051.6667
24" | 60.9157 | 103.6925 | 146.4664 | 262 | 330 | 2377
30" |  |  |  | 334 | 354 | 3500
Pipe Bursting Multipliers
Proposed Pipe Size |  |  |  | Bursting Class A | Bursting Class B | Bursting Class C
8" |  |  |  | 118.5% | 118.5% | 141%
10" |  |  |  | 122.9% | 127.1% | 157.2%
12" |  |  |  | 127.3% | 135.7% | 173.4%
16" |  |  |  | 146.3% | 154.4% | 178.5%
18" |  |  |  | 155.9% | 163.4% | 186%
20" |  |  |  | 157.4% | 167.7% | 188%
24" |  |  |  | 160.6% | 176.3% | 191.9%

## Water Project Data
|  | EX Pipe/LF |  |  |  | Prop Pipe/LF |  |  |  | Services |  |  |  | Hydrants |  |  | Insertion Valve |  |  |  | Existing Pipe |  | Proposed Pipe
Segment | Length | EX Diameter | Bore and Jack | cost/LF | Extended Cost | Prop Diameter | Bore and Jack | Unit Cost | Extended Cost | quantity | Diameter | cost | Extended Cost | quantity | Cost | Extended Cost | Quantity | Diameter | Cost | Extended Cost | Total | Per LF | Total | Per LF
| 100 | 2" | No |  |  | 8" | No | 162 | 16200 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 2" | 6542 | 0 | 0 | 0 | 16200 | 162
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0
| 0 | 2" | No |  |  | 12" | No | 199 | 0 | 0 | 3/4" | 1661 | 0 | 0 | 6382 | 0 | 0 | 8" | 19134 | 0 | 0 |  | 0

## Water Cost Data (hidden)
Pipe (lf) | [6 empty] | Services |  | Insertion Valve |  | Fire Hydrants
Diameter | Open Cut | general pipe adder | pipe size specific adder | Pavement Adder | Total | Bore and Jack | Diameter | Each | Diameter | Each | Each
6" | 43.6496 | 19.172 | 3.4821 | 22.7713 | 156 | 262 | 3/4" | 1661 | 2" | 6542 | 6382
8" | 50.8507 | 19.172 | 3.9251 | 22.7713 | 162 | 328 | 1" | 1735 | 4" | 11939
12" | 73.5151 | 19.172 | 5.6455 | 22.7713 | 199 | 572 | 2" | 9172 | 6" | 15538
16" | 120.0183 | 19.172 | 12.4036 | 22.7713 | 268 | 736 |  |  | 8" | 19134
24" | 132.3086 | 19.172 | 19.2441 | 22.7713 | 281 | 900 |  |  | 12" | 26331

## Reimbursement Calculator
City of Raleigh
Public Utilities Department
Developer Installed Main Reimbursement Contribution Calculator
Effective FY 2023-2024
Project Name
Instructions: | [13 empty] | Date:
For an accurate estimate, please fill in all Yellow Cells | [13 empty] | Permit #
[14 empty] | Peak Sewer Flow Rate | 0 | gpm
Water mains
Pipe Segment Information | [5 empty] | Age/Condition |  |  | Capacity | [6 empty] | Available CORPUD Contribution
Segment # | Existing Length (Feet) |  | Existing Material | Existing Diameter | New Diameter | Install Year | % Service life remaining | Condition Score | Current Flow Rate (gpm at 5 FPS) | New Flow Rate (gpm at 5 FPS) | Required by CORPUD or development |  |  | Capacity Score |  | % Contribution | Contribution Value/lf | Condition contribution | Capacity contribution | Total Contribution
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
| #N/A | lf | CI | #N/A | #N/A | 1950 | 36% | 64% | #N/A | #N/A | CORPUD |  |  | #N/A |  | #N/A | 0 | #N/A | #N/A | 0
[17 empty] | Sub totals | #N/A | #N/A | 0
Sewer Mains | [20 empty] | These Cells are used to calculate the Total Capacity Score No input is required in these cells.
Pipe Segment Information | [5 empty] | Age/Condition |  | Capacity | [7 empty] | Available CORPUD Funding and Funding Source
Segment # | Existing Length (feet) |  | Existing Material | Existing Diameter (Inches) | New Diameter (Inches) | PACP Score | Condition Score | Current Peak Flow (gpm) | Current Pipe Capacity (gpm) | Peak Flow with Development (gpm) | New Pipe Capacity (gpm) | This development % of available pipe capacity | Total Capacity Score | Existing Rate Base Capacity% | Future Dev. Capacity % | % Contribution | Contribution Value/LF | Condition contribution | Capacity contribution | Total Contribution | Current pipe capacity (half full) (gpm) | City portion of existing flows less than 50% of pipe capacity (gpm) | Developer portion of existing flows less than 50% of pipe Capacity (gpm) | Existing Flows exceeding 50% of existing pipe capacity (gpm) | Peak Flow from Proposed Development (gpm) | New Future Capacity (gpm) | Peak flow of existing pipe flowing half full (gpm) | Developer portion (gpm) | City Portion (gpm) | Capacity Score | % EX Rate base | % Future Developers
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| #N/A | lf | DIP | #N/A | #N/A | 1 | 0% | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Note: New Pipe capacities based on 15" and 21" pipes. Only option in reimbursement spreadsheet was 16" and 24" pipes.
Note on A14: Sorrell, John: This cell is used to connect the reimbursement percentage calculation to the Water Project Data Tab.
Note on B14: Sorrell, John: This Cell is the length of the pipe being replaced in feet.
Note on D14: Sorrell, John: This cell is the material of the existing Pipe AC = Asbestos Cement CI = Cast Iron CO = Copper DI = Ductile Iron GALV = Galvanized PCCP = Prestressed Concrete Cylinder Pipe PVC = Polyvinyl Chloride
Note on G14: Sorrell, John: This information will be supplied by the City of Raleigh for the existing pipe.
Note on H14: Sorrell, John: This Cell represents the percentage of the service life that is remaining based on the material and install year.
Note on I14: Sorrell, John: This cell is the inverse of the condition score.
Note on J14: Sorrell, John: This cell represents the flow rate in the existing pipe at a hypothetical 5 feet per second.
Note on K14: Sorrell, John: This cell represents the flow rate in the proposed pipe at a hypothetical 5 feet per second.
Note on L14: Sorrell, John: This cell is used determine whether CORPUD is requiring the upgrade to serve future customers or whether the upgrade only serves the proposed development
Note on O14: Sorrell, John: This cell represents the percentage increase in available flow from the existing pipe to the proposed pipe under a hypothetical 5 feet per second scenario.
Note on Q14: Sorrell, John: This cell is the greater of the Condition Score or the Capacity Score.
Note on R14: Sorrell, John: This cell is the amount of reimbursement available per linear foot of pipe being replaced. It is based on the % contribution and the total cost from the Water Project Data Tab
Note on S14: Sorrell, John: This cell represents the portion of the reimbursment that will be paid from Infrastructure Replacement Fee Revenue
Note on U14: Sorrell, John: This is the total reimbursement available for this pipe segment.
Note on W37: Sorrell, John: These Cells are used to calculate what portion of the future pipe each of the stakeholders is responsible for from a flow rate standpoint. The developer is always responsible for his flow. The City is always responsible for future capacity via Capital Facility Fee Revenue. Responsibility for existing flow varies depending on whether the existing pipe is over capacity or not. When the existing pipe is less than 50% full, the developer will be responsible for existing flow. When the existing pipe is more than 65% full the city will be responsible for existing flow. Between these numbers scales porportionally.
Note on A40: Sorrell, John: This cell is used to connect the reimbursement percentage calculation to the Sewer Project Data Tab.
Note on B40: Sorrell, John: This is the length of the existing pipe being replaced in feet.
Note on D40: Sorrell, John: This is the material of the existing pipe. It is not used in later calculations but is included for project Data. CI = Cast Iron CONC = Concrete DIP = Ductile Iron PVC = Polyvinyl Chloride VCP = Vitrified Clay Pipe
Note on E40: Sorrell, John: This Cell is the existing diameter from the Project Data Tab
Note on F40: Sorrell, John: This Cell is the new diameter from the Sewer Project Data Tab
Note on G40: Sorrell, John: This Cell is the PACP Score which is a nationally recognized system for Ranking sewer pipe condition developed by NASSCO. The City will provide this score upon request if crews are available. 1 represents Very good pipe 5 represents pipe in need of replacement.
Note on H40: Sorrell, John: This cell is calculated based on the PACP score. 1 = 0% 2 = 25% 3 = 50% 4= 75% 5= 100%
Note on I40: Sorrell, John: This cell represents the current flow in each pipe segment in gpm. The City can provide billing data to help calculate existing flow rates.
Note on J40: Sorrell, John: This cell is the capacity of the existing pipe in gallons per minute based on mannings equation, full pipe and a mannings n value of .013
Note on K40: Sorrell, John: This cell is calculated by adding the proposed peak flow from the development to the current peak flow.
Note on L40: Sorrell, John: This cell is the capacity of the proposed pipe flowing full based on mannings equation and an n value of .013
Note on M40: Sorrell, John: This cell represents what percentage of the lower half of the proposed pipe will be used to accommodate the proposed development.
Note on N40: Sorrell, John: This cell is calculated based on columns W to AF to the right. See comment on these columns for more information.
Note on O40: Sorrell, John: This cell represents what portion of the Capacity Score is due to existing capacity issues.
Note on P40: Sorrell, John: This cell represents what portion of the Total Capacity Score is related to future capacity being provided in the new pipe.
Note on Q40: Sorrell, John: This cell is the greater of the condition score or the Total Capacity Score.
Note on R40: Sorrell, John: This cell is the available reimbursement pre linear foot of pipe based on the % Contribution and the Sewer Project Data Tab
Note on S40: Sorrell, John: This represents the portion of the reimbursement that will be provided from Infrastructure replacement Fee Revenue (Existing capacity and condition issues)
Note on W40: Sorrell, John: This Cell represents the capacity of the existing pipe when flowing 50% full.
Note on X40: Sorrell, John: This cell represents the portion of the existing flow in the bottom half of the pipe the city is responsible for building a new pipe to convey based on existing capacity issues.
Note on Y40: Sorrell, John: This cell represents the portion of the existing flow in the bottom half of the pipe the Developer is responsible for building a new pipe to convey based on existing capacity issues.
Note on Z40: Sorrell, John: The cell represents existing flow exceeding 50% full in the existing pipe. This flow is always the Cities responsibility.
Note on AB40: Sorrell, John: This is the additional capacity provided by the new pipe above what is required to serve existing flows and the proposed development.
Note on AC40: Sorrell, John: This cell represents pipe capacity of the proposed pipe flowing half full.
Note on AD40: Sorrell, John: This cell is the sum of the flows in column Y and column AA
Note on AE40: Sorrell, John: This is the sum of the flows in Columns W,X,Z, and AB.
Note on AF40: Sorrell, John: This Cell is the percentage of the bottom half of the pipe used by flows for which the developer is responsible.
Note on AG40: Sorrell, John: This Cell is the percentage of the Capacity score attributed to the existing Rate Base.
Note on AH40: Sorrell, John: This Cell is the percentage of the Capacity Score attributed to future capacity.

## Data
Water pipe | AC | 60
| CI | 100
| CO | 105
| DIP | 110
| GALV | 51
| PCCP | 60
| PVC | 96
Sewer Pipe | PVC
CI
DIP
VCP
CONC
PACP Codes | 1
2
3
4
5
Development
CORPUD
2" | 2
6" | 6
8" | 8
10" | 10
12" | 12
16" | 16
18" | 18
20" | 20
24" | 24
Open Cut | 1
Bore and Jack | 1
Bursting Class A
Bursting Class B
Bursting Class C
Yes
No
Boolean
Yes
No

## Contribution Calculator
| Peak Sewer Flow Rate | 0 | gpm
Segment # | Total Construction Cost | Total City Contribution | Responsibilty of proposed development | 65% full pipe capacity | Current % full | Current Peak Flow | Available Capacity | GPM at 50% full capacity | GPM above 50% | This development % of available | Responsibility of this development
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
0 | 13104 | 0 | 13104 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
[10 empty] | Total | #DIV/0!